## Residential
SOLAR POWER PLANT PROPOSAL
GRID CONNECTED ROOFTOP (CAPTIVE)
Sr.No.: | URBAN | /Ahmedabad/2023-24/ |  | 86 | Date: |  | 2023-08-29 |  |  | URBAN
| To:- The Grand Eastern |  |  |  |  | Cons. No.: |  |  |  | RURAL
| Location: Ahmedabad |  |  | Tarrif Type: Residential |  | Discom: TPL
Sr.No. | Description |  |  |  | Proposed Capacity (KW) | Rate/KW | Value (INR)
1 | The solar power plant will consists of required no. of SPV panels, Inverter and with all the electrical items as per the design. |  |  |  | 3.24 | 47796 | 154859.04 |  | 8250 |  | Adani Urban
[11 empty] | kW | Structure Rate
[11 empty] | 3 | 27136
Subsidy Rate/kW: - |  |  | 46647 |  | Subsidy (20%, 3.01KW to 10.00KW) |  | 2239.056 |  |  | 0 | 3.3 | 24302.2
[5 empty] | Subsidy (40%, Upto 3.00KW) |  | 60454.512 | 0 |  | -28674 | 4 | 31999
Net - Meter Charges | [6 empty] | 5831 |  |  | -8850 | 5 | 38773
Extra Cable Charges, Structure Charges and Mono perc panel charges | [6 empty] | 28674 | 8850 |  |  | 6 | 44047
Solar Plant Cost . | [6 empty] | 126670.472 |  | 0 |  | 8 | 62401
Note:- If any government taxes changes than it will be same levied on to the consumer. | [10 empty] | 10 | 63311
Note:- Below charges are aprox. included in above quoted rate. | [7 empty] | 131670.472
Net Meter Charges(Included per application): Up to ₹ 5831/- (Depend upon customer connection and sanction ld.) | [7 empty] | 158476 |  |  | Pahal Urban
1 | Roof/Space area required - 8 Sq. Mtr/KW |  |  |  | Customer Scope | [5 empty] | kW | Structure Rate
2 | Liasoning/Permission |  |  |  | Included | [5 empty] | 3 | 21732
3 | Earthing and LA material |  |  |  | Included | [5 empty] | 3.3 | 18298.2
4 | Earthing systems arrangement space |  |  |  | Customer Scope | [5 empty] | 4 | 24794
Terms & Conditions | [10 empty] | 5 | 29766
Sr.no | Parameters |  |  |  | Remarks | [5 empty] | 6 | 33239
1 | All other taxes, Duties, Levies,Cess etc. |  |  |  | Extra @ actual | [5 empty] | 8 | 48128
2 | Validity period of this proposal |  |  |  | 5 days from the date of this proposal | [5 empty] | 10 | 45469
3 | All extra and additional material/work |  |  |  | Extra @ actual
4 | Payment should be made by account payee cheque in favour of “PV Renewables.”
5 | GEDA application fees needs to be paid seperately in advance at the time of registration.
6 | Depreciation benefit can be claimed at 40% of book value every year if eligible.
7 | This rate is applicable only if we allowed to use your lift and equipments for material unloading & loading to terrace.
8 | We'll liable to pickup all material from site if any payment remaining from consumer side after installation.
Warranty & Guarantee
1 | SPV modules (for Manufacturing Defects) |  |  |  | 90% Power output for the 1st 10 Years
2 | SPV modules (for performance only) |  |  |  | 15
84% Power output for the remaining 20 Years
3 | Inverter |  |  |  | 10
Warranty will be provided by particular manufacturers of the product.
ITEMS CONSIDERED FOR PROPOSAL
Sr.No. | Description |  |  | Unit | Qty. | Size | Make
1 | SPV modules |  |  | Nos | 6 | 540 | Pahal/Equi. |  | Adani/Equi.
2 | Module mounting structure |  |  | Set | As per design | 60*40*2mm, 40*40*2mm | Hot Dip G.I. 80 Micron |  | Pahal/Equi.
3 | String Inverter |  |  | Nos | 1 | 3.3 | PV Inverter/Equi.
4 | DCDB |  |  | Nos | 1 Nos. | As per design | Polycab/C&S/Equi.
5 | ACDB |  |  | Nos | 1 Nos. | As per design | ABB/Equi.
6 | DC Cable |  |  | Mtr | As per design | 4 | Polycab/Standard
7 | AC Cable |  |  | Mtr | As per design | 2.5 | Polycab/Standard |  | 2.5
8 | Earthing Systems |  |  | Nos | As per design | As per design | Standard
9 | LA Systems |  |  | Lot | 1 | As per design | Standard
10 | J Bolt |  |  | Nos | At actual | 8mm | SS304
11 | Base Plate |  |  | Nos | At actual | 125*125*3mm | MS Plate
12 | Anchor Fastner |  |  | Nos | At actual | 10*100mm | GI with chrome
13 | PVC Pipe |  |  | Nos | At actual | 20mm | Crown/ISI Make
14 | Foundation |  |  | Nos | At actual | 300*250mm | Standard
15 | Elbow/Tie |  |  | Nos | At actual | 20mm | Crown/ISI Make
16 | Isolation MCB |  |  | Nos | At actual | 40A | Havells
17 | Earthing Cable |  |  | Nos | At actual | 6sqmm | PVI/Jhonson
18 | LA Cable |  |  | Nos | At actual | 25sqmm | PVI/Jhonson
Total Saving = Electicity bill saving + Tax benefit through elevated depreciation
Particular |  |  |  | 1st Year | 2nd Year | 3rd Year | Fourth Year
Depreciation 40% of book value |  |  |  | 50668.1888 | 30400.9133 | 38507.8235 | 2837.4186
Tax benefit @30% (A) |  |  |  | 15200.4566 | 9120.274 | 11552.347 | 851.2256
Saving in Electricity Bill (B) |  |  |  | 39191.04 | 39191.04 | 39191.04 | 39191.04
Total Saving (A+B) |  |  |  | 54391.4966 | 48311.314 | 50743.387 | 40042.2656
Net cash flow at the end |  |  |  | -72278.9754 | -23967.6614 | 26775.7257 | 66817.9912
Savings & ROI
1 | Total Investment (Rs.) (A) | [5 empty] | 126670.472
2 | Existing Rate per Unit (Rs./unit) (B) | [5 empty] | 8
3 | Units generation from solar project (approx) (C) | [5 empty] | 4898.88
4 | Yearly bill Savings in (Rs.) (E = B x C - D) | [5 empty] | 39191.04
5 | Total Savings in 25 years(Rs.) (E x 25) | [5 empty] | 979776
6 | Pay back period in Years without depreciation benefit (A / D) | [5 empty] | 3.2321
7 | R.O.I (Return on Investment in %) without depreciation benefit (D / A)% | [5 empty] | 30.94%
*Payback Start from 5th Year
|  |  | Year | Bill Save
|  |  | 1st Year | 39191.04
|  |  | 2nd Year | 39191.04
|  |  | 3rd Year | 39191.04
|  |  | 4th Year | 39191.04
|  |  | 5th Year | 39191.04
Payment Schedule for Solar Power Plant:
Payment Stage |  |  |  |  | Payment (In %) | Amount In Rs. | Process time (approx)
At time of Purchase Order |  |  |  |  | 20% | 25334.0944 | 10
After Discom approval and before material dispatch |  |  |  |  | 80% | 101336.3776 | 25
Total |  |  |  |  | 100% | 126670.472 | 35
Timely payment will leads to faster execution of projects.
Note : Net meter charges are considered in the above calculation. Customer needs to pay the same seperately if its vary.
Company Bank details
|  | Account Name |  |  | PV Renewables
|  | Account Number |  |  | 182705500393
|  | Bank |  |  | ICICI Bank
|  | Branch |  |  | Memnagar,Ahmedabad
|  | IFSC |  |  | ICIC0001827
Documents Required for Application
|  | 1 | Latest Lightbill
|  | 2 | Tax bill
|  | 3 | Passport Size Photo
|  | 4 | Aadhar Card
|  | 5 | Pan Card
|  | 6 | Bank details/ Cancel cheque
|  | 7 | Email ID
|  | 8 | Mobile No. for OTP Verification

## Calculation
Capacity | 3.3 |  |  | Area To be Edit | [19 empty] | 3563.3715
Discom | TPL | adani |  | Auto fetch Data |  | kW Capacity | 3.3
|  | 23.3 | 12582
Particulars | Nos | Description | Amount | Total |  | Solar Panel | 540 | No of Module | No of structure | Structure Type |  | Ht of structure | Total Foundation |  | Basic Height in MM | Degree | Rafter Length | No. of Legs | 1 Leg Ht | 2 Leg Ht | 3 Leg Ht | 4 Leg Ht | 5 Leg Ht | 6 Leg Ht | Purllin length | No. of 1 Leg | No. of 2 Leg | No. of 3 Leg | 4th Leg | 5th Leg | 6th Leg | No. of Rafter | Purllin | Total 60*40 | Total 40*40 | Total Weight
Solar Panel | 72 | 540 | 12582 | 905904 |  |  |  | 24 | 1 | 2 | 12 | 9 | 12 |  | 2743.2 | 13 | 4.6 | 6 | 2743.2 | 0 | 0 | 0 | 0 | 3563.3715 | 13620 | 6 | 0 | 0 | 0 | 0 | 6 | 6 | 4 | 65.4394 | 54.48 | 343 | 1337.7 | 3.9
Inverter | 12 | 3.3kW | 17500 | 210000 |  |  |  | 48 | 1 | 8 | 6 | 13 | 18 |  | 3962.4 | 5 | 18.4 | 3 | 3962.4 | 4266.5038 | 4570.6076 | 4874.7115 | 5178.8153 | 5482.9191 | 6810 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 16 | 140.2079 | 108.96 | 768
Cable DC | 780 | 4 | 36.05 | 28119 | 65 |  | 780 | 0 | 0 | 3 | 6 | 10 | 0 |  | 3048 | 10 | 6.9 | 3 | 3048 | 0 | 0 | 0 | 3564.256 | 4080.5121 | 6810 | 3 | 0 | 0 | 0 | 3 | 3 | 3 | 6 | 52.7783 | 40.86 | 0
Cable AC | 960 | 2.5 | 48.41 | 46473.6 | 34.2857 |  | 960 | 0 | 0 | 3 | 6 | 10 | 0 |  | 3048 | 17 | 6.9 | 3 | 3048 | 0 | 0 | 0 | 3917.2211 | 4786.4422 | 6810 | 3 | 0 | 0 | 0 | 3 | 3 | 3 | 6 | 55.955 | 40.86 | 0
DCDB | 12 | 1-4kW | 1910 | 22920
J Bolt | 288 | 8mm | 13 | 3744 |  |  | 38880 | 1388.5714 | 3240 |  |  | ACDB |  |  | DCDB |  | Inverter |  |  | Meter Charges |  |  |  | Torrent | Cable Selction
No of Base Plate | 30 | 125*125*4 | 32 | 960 |  |  |  | DC 2.5sqmm | 26.78 | 26 |  | Range | Price |  | Range | Price | Range | Price |  | Range | TPL | GEB |  | UGVCL | kW capacity | Size | Rate
No of anchor fastner | 120 | 10*100mm | 10 | 1200 |  |  |  | DC 4sqmm | 36.05 | 35 |  | 1kW - 5kW | 1150 |  | 1-4kW | 1910 | 2kW | 15500 |  | 1-6kW | 4791 |  |  | PGVCL |  | 4sq mm
No. of foundation | 30 | 250*300mm | 270 | 8100 |  |  |  | AC 2.5sqmm | 48.41 | 47 |  | 5kW - 10kW | 2205 | 2645 | 4-8kW | 3180 | 3kW | 17000 |  | 6-20kW | 15606 |  |  | DGVCL |  | 6sq mm
Support Plate | 30 | 50*100mm | 12 | 360 |  |  |  | AC 2.5sqmm | 96.82 | 94 |  | 11kW - 18kW | 5073 |  | 8-11kW | 6320 | 3.3kW | 17500 |  | 20-50kW | 23060 |  |  | MGVCL |  | 10sq mm
ACDB | 0 | 1kW - 5kW | 1150 | 0 |  |  |  | AC 4sqmm | 43.775 | 42.5
Structure | 2333.1 | 76 | 76 | 177315.6 |  |  |  | AC 4sqmm | 87.55 | 85 |  | 19kW -25kW | 6289 |  | 11-16kW | 6245 | 4kW | 20803 |  | 50-100kW | 51123 |  |  |  |  | 16sq mm
60*40*2mm | 16.3599 | 18.5 | 96 |  |  | 190 |  | Panel Rate | 25.956 | 25.2 |  | 26kW - 35kW | 8840 |  | 16-21kW | 8375 | 5kW | 29797 |  |  |  |  | 0 | 3563.3715 |  | 25sq mm
40*40*2mm | 13.62 | 18.5 | 85 |  |  | 19 |  | PVC Pipe | 23.7209 | 23.03 |  | 36kW -60kW | 22403 |  | 21-25kW | 6009 | 6kW | 30615 |  |  |  |  | 3563.3715 | 13.3875 |  | 35sq mm
LA | 1 | Multi Spike | 1500 | 1500 |  | 3610 |  | Earthing Cable | 24.308 | 23.6 |  | 61kW - 70kW | 25915 |  | 26-35kW | 8878 | 8kW | 49996 | [7 empty] | 50sq mm
LA Cable | 60 | 25 | 56 | 3360 | [7 empty] | 71kW - 120kW(1in-1out) | 46025 |  | 35-55kW | 9125 | 10kW | 51262
Earthing Rod | 19 | 4 | 200 | 3800 |  |  | 2755 |  |  |  | 11191 | 71kW - 100kW(2in-2out) | 64987 |  | 40-60kW | 6586 | 15kW | 66374 | 69500
Earthing Pit | 0 | 150 | 350 | 0 |  |  |  | 76 |  |  |  | 100kW - 120kW(2in-1out) | 77032 |  | 50-65kW | 13009 | 20kW | 80000
Earthing Cable | 1197 | 4 | 7 | 8379 |  |  |  | 100 | 25 |  |  | 120kW - 160kW(2in-1out) | 98683 |  | 60-80kW | 13410 | 25kW | 105500
Earthing Cable | 0 | 6 | 28 | 0 | [7 empty] | 160kW - 200kW(2in-1out) | 127820 |  | 70-100kW | 16778 | 33kW | 119500
PVC Pipe | 1178.3333 | 25 | 12 | 14140 |  |  | 29.4583 |  |  |  |  | 200kW - 250kW(2in-1out) | 149466 |  | 100-250kW | 46565 | 40kW | 138500
Elbow/Tee | 1600 | 25 | 2.5 | 4000 |  |  | 9.8194 |  |  |  |  | Edit M25 | 200000 |  | Edit P25 | 100000 | 50kW | 260000 | 145000
Isolation MCB | 12 | 1 | 216 | 2592 |  |  | 392.7778 | [9 empty] | 60kW | 155000
Aggrement | 12 | 1 | 320 | [13 empty] | 80kW | 235000
Lug for LA | 4 | 35 | 7 | 28 | [12 empty] | 100kW | 285000
Lug for Earthing | 43 | 2.5 | 3.5 | 150.5 | [12 empty] | 125kW
Lug for AC Cable | 0 | 2.5 | 3 | 0 | [12 empty] | 150kW
Lug for Earthing | 216 | 2.5 | 1 | 216 | [12 empty] | 200kW
MC4 Connector | 30 | 1 | 25 | 750 | [12 empty] | 250kW
Cable Tie | 15 | 1 | 85 | 1275 | [12 empty] | 300kW
Cable Tie (S.S) | 0 | 1 | 6 | 0 | [12 empty] | 400kW
Zinc Spray | 15 | 1 | 150 | 2250 | [12 empty] | 500kW | 1125000
Saddle | 22 | 1 | 90 | 1980
Installation | 38.88 | 1 | 2800 | 108864
Service and Maintenance | 38.88 | 1 | 150 | 5832
Office Expense | 38.88 | 1 | 1680 | 65318.4
Miscellaneous Expenses | 38.88 | 1 | 150 | 5832
Petrol Expenses | 30 | 1 | 3.3 | 1188 | Distance | 12
Common Agrrement | 1 |  | 3000 | 3000
Core cutting | 33 |  | 0 | 0
Structure Report | 12 |  | 150 | 1800
CEI Expenses | 0 |  | 5832 | 0
Transportation | 38.88 | Fare | 370 | 14385.6 | 411.0171 | [11 empty] | 100+13.8% | 550000
Dealer Commission | 38.88 | 0 | 1000 | [8 empty] | 606 |  |  |  |  | 98 | 483304.0422
Sprinkler | 72 |  | 75 |  |  | 0 | [10 empty] | 100 | 493167.39 | 9863.3478
Motor | 2 |  | 15525
UPVC Pipe | 120 |  | 21.5 | [13 empty] | 100+13.8% | 561224.4898
UPVC Pipe | 25 |  | 43 | 0 | Sprinkler System material
Silicon | 72 |  | 300 | 0 | Sprinkler Labour |  |  | 46647.76 | Rs./Kw | PBG
|  |  | Total Cost W/O GST | 1655736.7 |  |  |  | 2798.8656 | 20% Subsidy |  | 54409.9473 | Hold Amount | [5 empty] | 493167 | 9863.34
|  |  | per kW Cost W/O GST | 42585.8205 |  |  | 30787.5216 | 55977.312 | 40% Subsidy |  | 33700 | [6 empty] | 561224.046
|  |  | Interest Calculation | 0 | 0%
|  |  | Profit per kW | 2555.1492 | 6%
|  |  | GST per kW on Costing | 6229.4538 | 13.8% | Hold PBG Amount
|  |  | Final Price per kW incl. GST | 51370.4235 | [13 empty] | 10 | 46089.6 | Rs./Kw
[5 empty] | 54409.9473 | kW Capacity | [12 empty] | 64525.44 | 20% Subsidy
|  |  | Total Amount Incl. GST | 1997282.0665 |  | 10 | [12 empty] | 55307.52 | 40% Subsidy
|  |  | Total Subsidy | 705314.1312 | 58776.1776 | [9 empty] | GST | kW | Rate | Sub | 119832.96
|  |  | Total Amount After Subsidy | 1291967.9353 | 2109974.0665 | [9 empty] | 51210 | 2 | 45000
|  |  | Dealer Commission | 38880 | [10 empty] | 48934 | 3 | 43000 | 58720
|  |  | Connection Charges | 69972 | 5831 | [9 empty] | 48934 | 3.3 | 43000 | 61656
|  |  | Aggreement Charge | 3840 | [10 empty] | 48934 | 4 | 43000 | 68507
|  |  | Total Add. Cost (GST NA) | 112692 | [10 empty] | 47796 | 5 | 42000 | 76473
|  |  | Payable Amount by Cust. | 1404659.9353 | 117054.9946 | 1388.5714 | [8 empty] | 46658 | 6 | 41000 | 83984
|  |  | Extra per kW | 34149.0909 | [10 empty] | 46089 | 8 | 40500 | 101396
|  |  | Total Profit | 99344.202 | 8278.6835 | [9 empty] | 46089 | 10 | 40500 | 119831
|  |  | PBG (5 years) 3% | 2966.7975 | [10 empty] | 44115.708 | 25 | 38766
|  |  | Net Profit | 5311.886 | [10 empty] | 43813 | 50 | 38500
[15 empty] | 37212.6 | 100 | 32700
Final Profit
[8 empty] | 362732.9818 | Subsidy For Comman
Subsidy Amount | 362732.9818 |  | Subsidy Amount | 2798.8656 | -24213.9759
Interest On Subisidy | 14509.3193 |  | Interest On Subisidy | 0
|  |  | Meter Charges | 2950
|  |  | Dealer Commission | 38880
Total Rate | 14509.3193 |  | Total Rate | 41830 | 41830 | 0
Without Subsidy | -348223.6625 |  | Without Subsidy | 39031.1344
With Meter Charges | -348223.6625 |  | With Meter Charges | 39031.1344 | Meter Charge
|  |  | Company | Remain to receive | Received
|  |  | PVR | 941899
|  |  | Oorja | 713148
|  |  | EFW | 759218
|  |  | Deluxe | 650646
|  |  | Lumech | 132415
|  |  | Blue Cloud | 0
|  |  | Zharna Solar | 203950